# Supplementary Material — Forecasting Electricity Demand in Unseen Regions

This supplement accompanies the manuscript. All tables are generated by src/generate_tables.py from the metric files listed in results/tables/table_manifest.csv. Analyses marked post-review were added in response to an internal simulated review and are logged in DECISION_LOG.md (D14–D16).

# 1	S1. Full interval-calibration results

Table S1. Interval calibration on the test period, all settings (48 BAs).

| Nominal | h (h) | Setting | Method | Mean coverage % | Min–max coverage % | Mean | cov. dev. | pp | BAs under-covered >5 pp | Median hourly width % |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 90% | 1 | in-region | QR | 84.8 | 66.7–96.4 | 6.8 | 44 | 4.08 | 4.46 | 7.12 |
| 90% | 1 | in-region | SCP | 88.3 | 54.8–99.5 | 7 | 31 | 4.8 | 4.96 | 7.45 |
| 90% | 1 | in-region | CQR | 88.7 | 70.1–98.0 | 5.3 | 25 | 4.59 | 4.98 | 6.99 |
| 90% | 1 | in-region | SCP-T4 | 86.4 | 70.0–95.4 | 5.1 | 31 | 4.31 | 4.51 | 7.67 |
| 90% | 1 | in-region | ACI-CQR | 90 | 89.9–90.1 | 0 | 0 | 4.76 | 5.34 | 7.15 |
| 90% | 1 | in-region | ACI-CQR-V | 90 | 89.7–90.4 | 0.1 | 0 | 4.74 | 5.17 | 6.9 |
| 90% | 1 | unseen-region | QR | 83.9 | 64.8–97.5 | 7.8 | 52 | 4.2 | 4.53 | 7.4 |
| 90% | 1 | unseen-region | SCP | 87.5 | 52.6–98.9 | 7.2 | 31 | 4.78 | 4.93 | 7.72 |
| 90% | 1 | unseen-region | CQR | 88.1 | 69.2–98.7 | 5.9 | 33 | 4.74 | 5.1 | 7.21 |
| 90% | 1 | unseen-region | SCP-T4 | 86.9 | 74.3–96.5 | 4.6 | 29 | 4.3 | 4.58 | 7.81 |
| 90% | 1 | unseen-region | ACI-CQR | 90 | 89.9–90.2 | 0 | 0 | 4.9 | 5.49 | 7.4 |
| 90% | 1 | unseen-region | ACI-CQR-V | 90 | 89.7–90.4 | 0.1 | 0 | 4.9 | 5.38 | 7.13 |
| 90% | 24 | in-region | QR | 87.5 | 77.2–93.3 | 3.5 | 23 | 17.04 | 20.25 | 27.79 |
| 90% | 24 | in-region | SCP | 89.1 | 71.7–99.3 | 5.5 | 31 | 20.29 | 20.96 | 31.43 |
| 90% | 24 | in-region | CQR | 89.2 | 79.7–95.1 | 3.1 | 19 | 17.98 | 21.18 | 27.78 |
| 90% | 24 | in-region | SCP-T4 | 84.2 | 65.7–95.3 | 7.7 | 50 | 13.39 | 14.38 | 33.82 |
| 90% | 24 | in-region | ACI-CQR | 90 | 89.8–90.1 | 0.1 | 0 | 18.37 | 98.41 | 104.47 |
| 90% | 24 | in-region | ACI-CQR-V | 89.9 | 89.4–90.4 | 0.2 | 0 | 17.75 | 21.03 | 27.81 |
| 90% | 24 | unseen-region | QR | 87.3 | 76.1–96.1 | 3.8 | 29 | 17.15 | 20.14 | 28.26 |
| 90% | 24 | unseen-region | SCP | 88.9 | 71.4–99.3 | 5.6 | 29 | 20.14 | 20.88 | 31.88 |
| 90% | 24 | unseen-region | CQR | 89.2 | 78.6–97.3 | 3.5 | 21 | 18.14 | 21.18 | 28.15 |
| 90% | 24 | unseen-region | SCP-T4 | 85.3 | 60.8–95.9 | 6.3 | 40 | 14.97 | 15.68 | 34.15 |
| 90% | 24 | unseen-region | ACI-CQR | 90 | 89.8–90.2 | 0.1 | 0 | 18.6 | 82.58 | 88.55 |
| 90% | 24 | unseen-region | ACI-CQR-V | 89.9 | 89.4–90.5 | 0.3 | 0 | 17.81 | 21.32 | 28.24 |
| 50% | 1 | in-region | QR | 41.9 | 28.2–57.8 | 8.9 | 69 | 1.31 | 1.48 | 3.78 |
| 50% | 1 | in-region | SCP | 48 | 21.3–75.8 | 10.7 | 40 | 1.49 | 1.54 | 3.79 |
| 50% | 1 | in-region | CQR | 48.5 | 32.2–67.6 | 7.2 | 35 | 1.55 | 1.73 | 3.75 |
| 50% | 1 | in-region | SCP-T4 | 46.9 | 32.2–62.0 | 5.6 | 35 | 1.44 | 1.53 | 3.83 |
| 50% | 1 | in-region | ACI-CQR | 49.9 | 49.6–50.1 | 0.1 | 0 | 1.64 | 1.84 | 3.75 |
| 50% | 1 | in-region | ACI-CQR-V | 49.8 | 48.9–50.3 | 0.2 | 0 | 1.63 | 1.83 | 3.75 |
| 50% | 1 | unseen-region | QR | 41.4 | 27.2–58.7 | 9.8 | 65 | 1.35 | 1.52 | 3.9 |
| 50% | 1 | unseen-region | SCP | 46.3 | 20.3–73.6 | 10.5 | 50 | 1.49 | 1.54 | 3.91 |
| 50% | 1 | unseen-region | CQR | 47.7 | 31.0–66.9 | 8.1 | 42 | 1.58 | 1.77 | 3.88 |
| 50% | 1 | unseen-region | SCP-T4 | 47.3 | 34.0–64.5 | 5.6 | 35 | 1.52 | 1.6 | 3.9 |
| 50% | 1 | unseen-region | ACI-CQR | 49.9 | 49.5–50.2 | 0.1 | 0 | 1.69 | 1.93 | 3.87 |
| 50% | 1 | unseen-region | ACI-CQR-V | 49.8 | 48.9–50.4 | 0.2 | 0 | 1.69 | 1.92 | 3.87 |
| 50% | 24 | in-region | QR | 47.6 | 36.5–55.5 | 3.9 | 25 | 6.31 | 7.5 | 15.27 |
| 50% | 24 | in-region | SCP | 48.3 | 29.8–74.1 | 7.4 | 38 | 6.11 | 6.31 | 15.6 |
| 50% | 24 | in-region | CQR | 48.8 | 37.5–56.8 | 3.8 | 19 | 6.5 | 7.69 | 15.28 |
| 50% | 24 | in-region | SCP-T4 | 47.4 | 20.9–68.8 | 9 | 48 | 5.67 | 5.84 | 15.78 |
| 50% | 24 | in-region | ACI-CQR | 49.9 | 49.6–50.2 | 0.1 | 0 | 6.62 | 7.66 | 15.34 |
| 50% | 24 | in-region | ACI-CQR-V | 49.7 | 48.6–50.6 | 0.4 | 0 | 6.59 | 7.54 | 15.28 |
| 50% | 24 | unseen-region | QR | 47.1 | 36.3–58.2 | 4.5 | 29 | 6.23 | 7.4 | 15.64 |
| 50% | 24 | unseen-region | SCP | 47.9 | 29.9–73.1 | 7.6 | 35 | 6.08 | 6.28 | 15.89 |
| 50% | 24 | unseen-region | CQR | 48.8 | 37.6–60.7 | 4.2 | 25 | 6.49 | 7.68 | 15.64 |
| 50% | 24 | unseen-region | SCP-T4 | 48.9 | 23.3–65.0 | 7 | 33 | 6 | 6.15 | 16.07 |
| 50% | 24 | unseen-region | ACI-CQR | 49.9 | 49.6–50.2 | 0.1 | 0 | 6.75 | 7.69 | 15.68 |
| 50% | 24 | unseen-region | ACI-CQR-V | 49.7 | 48.5–50.7 | 0.4 | 0 | 6.63 | 7.54 | 15.64 |

# 2	S2. Sensitivity of ACI to the step size (post hoc, test set)

This table was not used for any selection.

Table S2. POST-HOC test-set sensitivity of ACI-CQR (90%, unseen BAs) to the step size γ (not used for any selection).

| h (h) | γ | Mean coverage % | Min coverage % | Median hourly width % of mean load | Median interval score % | Capped hours % |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 0.001 | 90 | 89.5 | 4.88 | 7.13 | 0 |
| 1 | 0.002 | 90 | 89.7 | 4.9 | 7.13 | 0 |
| 1 | 0.005 | 90 | 89.9 | 4.9 | 7.4 | 0.09 |
| 1 | 0.01 | 90 | 89.9 | 4.93 | 7.71 | 0.46 |
| 24 | 0.001 | 89.9 | 89.4 | 17.81 | 28.24 | 0.13 |
| 24 | 0.002 | 89.9 | 89.6 | 18.05 | 29.35 | 0.97 |
| 24 | 0.005 | 90 | 89.8 | 18.6 | 88.55 | 4.37 |
| 24 | 0.01 | 90 | 89.9 | 19.51 | 272.91 | 12.25 |

# 3	S3. Missing-input robustness, all scenarios

Table S3. Robustness to missing input observations, all scenarios (test period; common scored hours).

| h (h) | Scenario | Strategy | Model | Input missing % | nMAE % median | nMAE % mean | Min. scored share of hours |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | BLOCK_168h | locf | LGB_G_IN | 9.7 | 2.42 | 2.51 | 0.969 |
| 1 | BLOCK_168h | locf | LGB_G_LRO | 9.7 | 2.46 | 2.56 | 0.969 |
| 1 | BLOCK_168h | native | LGB_G_IN | 9.7 | 1.95 | 2.08 | 0.969 |
| 1 | BLOCK_168h | native | LGB_G_IN_AUG | 9.7 | 1.94 | 2.01 | 0.969 |
| 1 | BLOCK_168h | native | LGB_G_LRO | 9.7 | 1.99 | 2.11 | 0.969 |
| 1 | BLOCK_168h | seasonal | LGB_G_IN | 9.7 | 1.87 | 1.93 | 0.969 |
| 1 | BLOCK_168h | seasonal | LGB_G_LRO | 9.7 | 1.9 | 1.98 | 0.969 |
| 1 | BLOCK_24h | locf | LGB_G_IN | 9.5 | 2.52 | 2.56 | 1 |
| 1 | BLOCK_24h | locf | LGB_G_LRO | 9.5 | 2.56 | 2.6 | 1 |
| 1 | BLOCK_24h | native | LGB_G_IN | 9.5 | 1.89 | 1.98 | 1 |
| 1 | BLOCK_24h | native | LGB_G_IN_AUG | 9.5 | 1.71 | 1.81 | 1 |
| 1 | BLOCK_24h | native | LGB_G_LRO | 9.5 | 1.97 | 2.02 | 1 |
| 1 | BLOCK_24h | seasonal | LGB_G_IN | 9.5 | 1.91 | 2.02 | 1 |
| 1 | BLOCK_24h | seasonal | LGB_G_LRO | 9.5 | 1.93 | 2.07 | 1 |
| 1 | MCAR_10 | locf | LGB_G_IN | 10.2 | 1.68 | 1.66 | 1 |
| 1 | MCAR_10 | locf | LGB_G_LRO | 10.2 | 1.7 | 1.71 | 1 |
| 1 | MCAR_10 | native | LGB_G_IN | 10.2 | 1.84 | 1.84 | 1 |
| 1 | MCAR_10 | native | LGB_G_IN_AUG | 10.2 | 1.32 | 1.41 | 1 |
| 1 | MCAR_10 | native | LGB_G_LRO | 10.2 | 1.93 | 1.93 | 1 |
| 1 | MCAR_10 | seasonal | LGB_G_IN | 10.2 | 2.19 | 2.26 | 1 |
| 1 | MCAR_10 | seasonal | LGB_G_LRO | 10.2 | 2.22 | 2.31 | 1 |
| 1 | MCAR_20 | locf | LGB_G_IN | 20.2 | 2.21 | 2.2 | 1 |
| 1 | MCAR_20 | locf | LGB_G_LRO | 20.2 | 2.24 | 2.24 | 1 |
| 1 | MCAR_20 | native | LGB_G_IN | 20.2 | 2.56 | 2.51 | 1 |
| 1 | MCAR_20 | native | LGB_G_IN_AUG | 20.2 | 1.52 | 1.62 | 1 |
| 1 | MCAR_20 | native | LGB_G_LRO | 20.2 | 2.7 | 2.64 | 1 |
| 1 | MCAR_20 | seasonal | LGB_G_IN | 20.2 | 3.19 | 3.27 | 1 |
| 1 | MCAR_20 | seasonal | LGB_G_LRO | 20.2 | 3.25 | 3.31 | 1 |
| 1 | MCAR_40 | locf | LGB_G_IN | 40.1 | 3.68 | 3.68 | 1 |
| 1 | MCAR_40 | locf | LGB_G_LRO | 40.1 | 3.68 | 3.7 | 1 |
| 1 | MCAR_40 | native | LGB_G_IN | 40.1 | 4.04 | 4.11 | 1 |
| 1 | MCAR_40 | native | LGB_G_IN_AUG | 40.1 | 2.29 | 2.34 | 1 |
| 1 | MCAR_40 | native | LGB_G_LRO | 40.1 | 4.22 | 4.31 | 1 |
| 1 | MCAR_40 | seasonal | LGB_G_IN | 40.1 | 5.14 | 5.28 | 1 |
| 1 | MCAR_40 | seasonal | LGB_G_LRO | 40.1 | 5.19 | 5.31 | 1 |
| 1 | MCAR_5 | locf | LGB_G_IN | 5.2 | 1.37 | 1.44 | 1 |
| 1 | MCAR_5 | locf | LGB_G_LRO | 5.2 | 1.41 | 1.48 | 1 |
| 1 | MCAR_5 | native | LGB_G_IN | 5.2 | 1.47 | 1.53 | 1 |
| 1 | MCAR_5 | native | LGB_G_IN_AUG | 5.2 | 1.25 | 1.33 | 1 |
| 1 | MCAR_5 | native | LGB_G_LRO | 5.2 | 1.56 | 1.6 | 1 |
| 1 | MCAR_5 | seasonal | LGB_G_IN | 5.2 | 1.66 | 1.76 | 1 |
| 1 | MCAR_5 | seasonal | LGB_G_LRO | 5.2 | 1.7 | 1.8 | 1 |
| 1 | clean | native | LGB_G_IN | 0.2 | 1.14 | 1.23 | 1 |
| 1 | clean | native | LGB_G_IN_AUG | 0.2 | 1.17 | 1.26 | 1 |
| 1 | clean | native | LGB_G_LRO | 0.2 | 1.17 | 1.28 | 1 |
| 24 | BLOCK_168h | locf | LGB_G_IN | 9.7 | 5.79 | 5.85 | 0.969 |
| 24 | BLOCK_168h | locf | LGB_G_LRO | 9.7 | 5.82 | 5.88 | 0.969 |
| 24 | BLOCK_168h | native | LGB_G_IN | 9.7 | 5.07 | 5.34 | 0.969 |
| 24 | BLOCK_168h | native | LGB_G_IN_AUG | 9.7 | 5.03 | 5.3 | 0.969 |
| 24 | BLOCK_168h | native | LGB_G_LRO | 9.7 | 5.08 | 5.38 | 0.969 |
| 24 | BLOCK_168h | seasonal | LGB_G_IN | 9.7 | 5.07 | 5.34 | 0.969 |
| 24 | BLOCK_168h | seasonal | LGB_G_LRO | 9.7 | 5.09 | 5.38 | 0.969 |
| 24 | BLOCK_24h | locf | LGB_G_IN | 9.5 | 5.81 | 5.82 | 1 |
| 24 | BLOCK_24h | locf | LGB_G_LRO | 9.5 | 5.83 | 5.85 | 1 |
| 24 | BLOCK_24h | native | LGB_G_IN | 9.5 | 5.02 | 5.3 | 1 |
| 24 | BLOCK_24h | native | LGB_G_IN_AUG | 9.5 | 4.94 | 5.22 | 1 |
| 24 | BLOCK_24h | native | LGB_G_LRO | 9.5 | 5.12 | 5.33 | 1 |
| 24 | BLOCK_24h | seasonal | LGB_G_IN | 9.5 | 5.13 | 5.39 | 1 |
| 24 | BLOCK_24h | seasonal | LGB_G_LRO | 9.5 | 5.21 | 5.42 | 1 |
| 24 | MCAR_10 | locf | LGB_G_IN | 10.2 | 4.81 | 5.09 | 1 |
| 24 | MCAR_10 | locf | LGB_G_LRO | 10.2 | 4.91 | 5.12 | 1 |
| 24 | MCAR_10 | native | LGB_G_IN | 10.2 | 5.05 | 5.33 | 1 |
| 24 | MCAR_10 | native | LGB_G_IN_AUG | 10.2 | 4.72 | 5.03 | 1 |
| 24 | MCAR_10 | native | LGB_G_LRO | 10.2 | 5.14 | 5.36 | 1 |
| 24 | MCAR_10 | seasonal | LGB_G_IN | 10.2 | 5.06 | 5.41 | 1 |
| 24 | MCAR_10 | seasonal | LGB_G_LRO | 10.2 | 5.16 | 5.45 | 1 |
| 24 | MCAR_20 | locf | LGB_G_IN | 20.2 | 5.05 | 5.28 | 1 |
| 24 | MCAR_20 | locf | LGB_G_LRO | 20.2 | 5.13 | 5.31 | 1 |
| 24 | MCAR_20 | native | LGB_G_IN | 20.2 | 5.62 | 5.77 | 1 |
| 24 | MCAR_20 | native | LGB_G_IN_AUG | 20.2 | 4.87 | 5.12 | 1 |
| 24 | MCAR_20 | native | LGB_G_LRO | 20.2 | 5.69 | 5.79 | 1 |
| 24 | MCAR_20 | seasonal | LGB_G_IN | 20.2 | 5.57 | 5.89 | 1 |
| 24 | MCAR_20 | seasonal | LGB_G_LRO | 20.2 | 5.65 | 5.91 | 1 |
| 24 | MCAR_40 | locf | LGB_G_IN | 40.1 | 5.98 | 5.95 | 1 |
| 24 | MCAR_40 | locf | LGB_G_LRO | 40.1 | 5.99 | 5.98 | 1 |
| 24 | MCAR_40 | native | LGB_G_IN | 40.1 | 6.93 | 6.88 | 1 |
| 24 | MCAR_40 | native | LGB_G_IN_AUG | 40.1 | 5.4 | 5.54 | 1 |
| 24 | MCAR_40 | native | LGB_G_LRO | 40.1 | 7.02 | 6.9 | 1 |
| 24 | MCAR_40 | seasonal | LGB_G_IN | 40.1 | 6.66 | 6.91 | 1 |
| 24 | MCAR_40 | seasonal | LGB_G_LRO | 40.1 | 6.69 | 6.93 | 1 |
| 24 | MCAR_5 | locf | LGB_G_IN | 5.2 | 4.72 | 5.02 | 1 |
| 24 | MCAR_5 | locf | LGB_G_LRO | 5.2 | 4.82 | 5.06 | 1 |
| 24 | MCAR_5 | native | LGB_G_IN | 5.2 | 4.84 | 5.14 | 1 |
| 24 | MCAR_5 | native | LGB_G_IN_AUG | 5.2 | 4.68 | 4.99 | 1 |
| 24 | MCAR_5 | native | LGB_G_LRO | 5.2 | 4.94 | 5.18 | 1 |
| 24 | MCAR_5 | seasonal | LGB_G_IN | 5.2 | 4.86 | 5.19 | 1 |
| 24 | MCAR_5 | seasonal | LGB_G_LRO | 5.2 | 4.96 | 5.22 | 1 |
| 24 | clean | native | LGB_G_IN | 0.2 | 4.64 | 4.96 | 1 |
| 24 | clean | native | LGB_G_IN_AUG | 0.2 | 4.65 | 4.97 | 1 |
| 24 | clean | native | LGB_G_LRO | 0.2 | 4.75 | 5 | 1 |

# 4	S4. All paired comparisons of point accuracy

Table S4. All paired comparisons of per-BA nMAE (test period).

| h (h) | A | B | Median rel. change in nMAE (A vs B) % | 95% CI (regions bootstrap) | A better (share of BAs) | Wilcoxon p (Holm, all) | BAs with A sig. better (block bootstrap) | BAs with B sig. better |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | LightGBM, global (unseen region, zero-shot) | LightGBM, global (in-region) | 3.4 | [2.5, 4.6] | 0 | 5.1e-13 | 0.0 | 0.98 |
| 1 | LightGBM, global (in-region) | LightGBM, local | -9.2 | [-11.7, -7.3] | 0.92 | 2.1e-08 | 0.83 | 0.04 |
| 1 | LightGBM, global (unseen region, zero-shot) | LightGBM, local | -5.4 | [-8.1, -3.7] | 0.77 | 0.00052 | 0.75 | 0.12 |
| 1 | LightGBM, global (unseen region, zero-shot) | Seasonal naive (24 h) | -79.6 | [-81.7, -77.5] | 1 | 5.1e-13 | 1.0 | 0.0 |
| 1 | LightGBM, global (in-region) | Ridge, global (in-region) | -19.3 | [-22.3, -15.5] | 1 | 5.1e-13 | 1.0 | 0.0 |
| 1 | Ridge, global (unseen region) | Ridge, global (in-region) | 0.5 | [0.2, 0.6] | 0.23 | 0.0083 | – | – |
| 1 | LightGBM, global (unseen region, zero-shot) | Ridge, global (unseen region) | -14.8 | [-19.7, -11.5] | 0.98 | 2.1e-11 | – | – |
| 1 | LightGBM, local | Seasonal naive (24 h) | -78.1 | [-79.2, -76.4] | 1 | 5.1e-13 | – | – |
| 6 | LightGBM, global (unseen region, zero-shot) | LightGBM, global (in-region) | 1.9 | [1.6, 2.3] | 0 | 5.1e-13 | 0.0 | 0.9 |
| 6 | LightGBM, global (in-region) | LightGBM, local | -5.7 | [-7.1, -4.0] | 0.88 | 3.9e-08 | 0.79 | 0.04 |
| 6 | LightGBM, global (unseen region, zero-shot) | LightGBM, local | -3.1 | [-5.6, -1.8] | 0.71 | 0.0067 | 0.54 | 0.15 |
| 6 | LightGBM, global (unseen region, zero-shot) | Seasonal naive (24 h) | -35.3 | [-37.2, -32.6] | 0.98 | 6.4e-13 | 0.98 | 0.02 |
| 6 | LightGBM, global (in-region) | Ridge, global (in-region) | -15.8 | [-18.1, -14.1] | 1 | 5.1e-13 | 1.0 | 0.0 |
| 6 | Ridge, global (unseen region) | Ridge, global (in-region) | 0.2 | [0.1, 0.2] | 0.25 | 0.00065 | – | – |
| 6 | LightGBM, global (unseen region, zero-shot) | Ridge, global (unseen region) | -13 | [-15.5, -12.3] | 0.98 | 3.6e-12 | – | – |
| 6 | LightGBM, local | Seasonal naive (24 h) | -32.5 | [-35.3, -29.9] | 1 | 5.1e-13 | – | – |
| 24 | LightGBM, global (unseen region, zero-shot) | LightGBM, global (in-region) | 0.5 | [0.4, 0.7] | 0.06 | 2.5e-11 | 0.0 | 0.52 |
| 24 | LightGBM, global (in-region) | LightGBM, local | -1.4 | [-2.2, -0.8] | 0.71 | 0.0029 | 0.35 | 0.06 |
| 24 | LightGBM, global (unseen region, zero-shot) | LightGBM, local | -0.8 | [-1.6, 0.2] | 0.62 | 0.21 | 0.31 | 0.17 |
| 24 | LightGBM, global (unseen region, zero-shot) | Seasonal naive (24 h) | -12 | [-15.2, -10.5] | 1 | 5.1e-13 | 0.94 | 0.0 |
| 24 | LightGBM, global (in-region) | Ridge, global (in-region) | -5.5 | [-7.1, -5.2] | 1 | 5.1e-13 | 0.98 | 0.0 |
| 24 | Ridge, global (unseen region) | Ridge, global (in-region) | 0.1 | [0.0, 0.2] | 0.25 | 0.00021 | – | – |
| 24 | LightGBM, global (unseen region, zero-shot) | Ridge, global (unseen region) | -5.4 | [-6.5, -4.6] | 1 | 5.1e-13 | – | – |
| 24 | LightGBM, local | Seasonal naive (24 h) | -11.7 | [-14.3, -10.1] | 0.98 | 6.4e-13 | – | – |

# 5	S5. Adaptation at additional onboarding origins (post-review)

Table S5. Median nMAE (%) for unseen BAs at three additional onboarding origins (evaluation: the following 365 days).

| h | origin | LGB_FT_k13 | LGB_FT_k4 | LGB_G_LRO | LGB_L_k13 | LGB_L_k4 |
| --- | --- | --- | --- | --- | --- | --- |
| 6 | 2024-04-01 | 3.83 | 3.85 | 3.7 | 7.8 | 7.66 |
| 6 | 2024-07-01 | 3.68 | 3.82 | 3.7 | 5.23 | 6.99 |
| 6 | 2024-10-01 | 3.63 | 3.73 | 3.63 | 5.52 | 6.09 |
| 24 | 2024-04-01 | 4.88 | 4.95 | 4.67 | 7.36 | 8.26 |
| 24 | 2024-07-01 | 5.35 | 5.97 | 4.75 | 6.21 | 7.85 |
| 24 | 2024-10-01 | 5.1 | 5.34 | 4.81 | 5.9 | 6.68 |

# 6	S6. Spatially blocked leave-region-out folds (post-review)

The nine blocks are the EIA reporting regions NW, CAL, SW, FLA and CAR, plus four merged groups of adjacent single-BA eastern regions: TEX+CENT, MIDW+MIDA, SE+TEN and NE+NY. When a block is held out, all its BAs are excluded from fitting, early stopping and calibration.

Table S6. Point accuracy with spatially blocked leave-region-out folds (test period).

| h (h) | Method | nMAE % median [IQR] | MASE median |
| --- | --- | --- | --- |
| 1 | LightGBM, global (in-region) | 1.14 [0.87, 1.51] | 0.194 |
| 1 | LightGBM, global (unseen region, zero-shot) | 1.17 [0.90, 1.55] | 0.201 |
| 1 | LightGBM, global (spatially blocked, zero-shot) | 1.27 [1.01, 1.61] | 0.219 |
| 1 | LightGBM, local | 1.28 [1.01, 1.61] | 0.22 |
| 1 | Seasonal naive (24 h) | 5.48 [4.57, 6.81] | 1.009 |
| 24 | LightGBM, global (in-region) | 4.64 [3.88, 5.87] | 0.884 |
| 24 | LightGBM, global (unseen region, zero-shot) | 4.75 [3.91, 5.91] | 0.888 |
| 24 | LightGBM, global (spatially blocked, zero-shot) | 4.81 [4.02, 6.03] | 0.901 |
| 24 | LightGBM, local | 4.72 [3.94, 5.94] | 0.893 |
| 24 | Seasonal naive (24 h) | 5.48 [4.57, 6.81] | 1.009 |

# 7	S7. Excluded BAs (post-review)

Table S7. Zero-shot forecasts for the five BAs excluded by the selection criteria.

| h (h) | BA | Mean MW | Zero-shot nMAE % | Local nMAE % | SN24 nMAE % |
| --- | --- | --- | --- | --- | --- |
| 1 | HST | 73 | 1.99 | 1.67 | 7.1 |
| 1 | PSEI | 2836 | 0.71 | 0.91 | 4.77 |
| 1 | SEC | 233 | 3.74 | 4.16 | 11.13 |
| 1 | SPA | 22 | 24.38 | 21.04 | 30.12 |
| 1 | WAUW | 91 | 3.3 | 2.91 | 6.45 |
| 24 | HST | 73 | 7.02 | 6.69 | 7.1 |
| 24 | PSEI | 2836 | 4.01 | 4.1 | 4.77 |
| 24 | SEC | 233 | 10.29 | 10.54 | 11.13 |
| 24 | SPA | 22 | 25.3 | 23.4 | 30.12 |
| 24 | WAUW | 91 | 6.4 | 6.44 | 6.45 |

# 8	S8. Conditional coverage (post-review)

Table S8. Conditional coverage of 90% intervals by season and by within-BA load decile (0 = lowest).

| Setting | h (h) | Method | Conditioning | Level | Mean cov. over BAs % | Min cov. over BAs % |
| --- | --- | --- | --- | --- | --- | --- |
| unseen (random folds) | 24 | CQR | season | DJF | 86.8 | 71.5 |
| unseen (random folds) | 24 | CQR | season | JJA | 89.9 | 73.5 |
| unseen (random folds) | 24 | CQR | season | MAM | 90 | 80.2 |
| unseen (random folds) | 24 | CQR | season | SON | 90 | 80.3 |
| unseen (random folds) | 24 | CQR | decile | 0 | 88.2 | 70 |
| unseen (random folds) | 24 | CQR | decile | 1 | 90 | 76.9 |
| unseen (random folds) | 24 | CQR | decile | 2 | 91.1 | 81.8 |
| unseen (random folds) | 24 | CQR | decile | 3 | 91.3 | 83.1 |
| unseen (random folds) | 24 | CQR | decile | 4 | 91.1 | 78.7 |
| unseen (random folds) | 24 | CQR | decile | 5 | 89.7 | 76.9 |
| unseen (random folds) | 24 | CQR | decile | 6 | 88.5 | 76.6 |
| unseen (random folds) | 24 | CQR | decile | 7 | 87.6 | 76.6 |
| unseen (random folds) | 24 | CQR | decile | 8 | 87.3 | 74.1 |
| unseen (random folds) | 24 | CQR | decile | 9 | 87 | 65.9 |
| unseen (random folds) | 24 | ACI-CQR-S (γ selected on source BAs) | season | DJF | 88.3 | 81.7 |
| unseen (random folds) | 24 | ACI-CQR-S (γ selected on source BAs) | season | JJA | 90 | 84.9 |
| unseen (random folds) | 24 | ACI-CQR-S (γ selected on source BAs) | season | MAM | 91.1 | 84.8 |
| unseen (random folds) | 24 | ACI-CQR-S (γ selected on source BAs) | season | SON | 90 | 85.2 |
| unseen (random folds) | 24 | ACI-CQR-S (γ selected on source BAs) | decile | 0 | 89.3 | 81.4 |
| unseen (random folds) | 24 | ACI-CQR-S (γ selected on source BAs) | decile | 1 | 90.9 | 87.8 |
| unseen (random folds) | 24 | ACI-CQR-S (γ selected on source BAs) | decile | 2 | 91.7 | 87.9 |
| unseen (random folds) | 24 | ACI-CQR-S (γ selected on source BAs) | decile | 3 | 91.9 | 88.1 |
| unseen (random folds) | 24 | ACI-CQR-S (γ selected on source BAs) | decile | 4 | 91.6 | 87.8 |
| unseen (random folds) | 24 | ACI-CQR-S (γ selected on source BAs) | decile | 5 | 90.3 | 86.4 |
| unseen (random folds) | 24 | ACI-CQR-S (γ selected on source BAs) | decile | 6 | 89 | 85.8 |
| unseen (random folds) | 24 | ACI-CQR-S (γ selected on source BAs) | decile | 7 | 88.1 | 85 |
| unseen (random folds) | 24 | ACI-CQR-S (γ selected on source BAs) | decile | 8 | 87.9 | 80.4 |
| unseen (random folds) | 24 | ACI-CQR-S (γ selected on source BAs) | decile | 9 | 87.9 | 72 |
| unseen (random folds) | 1 | CQR | season | DJF | 87.8 | 70.5 |
| unseen (random folds) | 1 | CQR | season | JJA | 88.5 | 66.2 |
| unseen (random folds) | 1 | CQR | season | MAM | 88.1 | 68.5 |
| unseen (random folds) | 1 | CQR | season | SON | 88 | 67.5 |
| unseen (random folds) | 1 | CQR | decile | 0 | 87.9 | 69.4 |
| unseen (random folds) | 1 | CQR | decile | 1 | 87.9 | 70.6 |
| unseen (random folds) | 1 | CQR | decile | 2 | 88.1 | 67.2 |
| unseen (random folds) | 1 | CQR | decile | 3 | 87.8 | 69.5 |
| unseen (random folds) | 1 | CQR | decile | 4 | 88 | 68.6 |
| unseen (random folds) | 1 | CQR | decile | 5 | 88.2 | 70.3 |
| unseen (random folds) | 1 | CQR | decile | 6 | 88.4 | 68.9 |
| unseen (random folds) | 1 | CQR | decile | 7 | 88.3 | 67.3 |
| unseen (random folds) | 1 | CQR | decile | 8 | 88.3 | 65.7 |
| unseen (random folds) | 1 | CQR | decile | 9 | 88.2 | 64.9 |
| unseen (random folds) | 1 | ACI-CQR-S (γ selected on source BAs) | season | DJF | 89.9 | 89.1 |
| unseen (random folds) | 1 | ACI-CQR-S (γ selected on source BAs) | season | JJA | 90 | 89 |
| unseen (random folds) | 1 | ACI-CQR-S (γ selected on source BAs) | season | MAM | 90.2 | 89.6 |
| unseen (random folds) | 1 | ACI-CQR-S (γ selected on source BAs) | season | SON | 89.8 | 88.9 |
| unseen (random folds) | 1 | ACI-CQR-S (γ selected on source BAs) | decile | 0 | 90.2 | 85.2 |
| unseen (random folds) | 1 | ACI-CQR-S (γ selected on source BAs) | decile | 1 | 90 | 87.6 |
| unseen (random folds) | 1 | ACI-CQR-S (γ selected on source BAs) | decile | 2 | 90.3 | 87.1 |
| unseen (random folds) | 1 | ACI-CQR-S (γ selected on source BAs) | decile | 3 | 90 | 87.5 |
| unseen (random folds) | 1 | ACI-CQR-S (γ selected on source BAs) | decile | 4 | 90.1 | 87.5 |
| unseen (random folds) | 1 | ACI-CQR-S (γ selected on source BAs) | decile | 5 | 90 | 87.7 |
| unseen (random folds) | 1 | ACI-CQR-S (γ selected on source BAs) | decile | 6 | 90.1 | 88.1 |
| unseen (random folds) | 1 | ACI-CQR-S (γ selected on source BAs) | decile | 7 | 89.7 | 86.9 |
| unseen (random folds) | 1 | ACI-CQR-S (γ selected on source BAs) | decile | 8 | 89.6 | 85.5 |
| unseen (random folds) | 1 | ACI-CQR-S (γ selected on source BAs) | decile | 9 | 89.7 | 83.3 |
| unseen (spatial blocks) | 24 | CQR | season | DJF | 87.1 | 70.9 |
| unseen (spatial blocks) | 24 | CQR | season | JJA | 90.3 | 73.6 |
| unseen (spatial blocks) | 24 | CQR | season | MAM | 90.4 | 82 |
| unseen (spatial blocks) | 24 | CQR | season | SON | 90.3 | 81 |
| unseen (spatial blocks) | 24 | CQR | decile | 0 | 88.6 | 73.1 |
| unseen (spatial blocks) | 24 | CQR | decile | 1 | 90.5 | 78.5 |
| unseen (spatial blocks) | 24 | CQR | decile | 2 | 91.5 | 79.7 |
| unseen (spatial blocks) | 24 | CQR | decile | 3 | 91.6 | 82.7 |
| unseen (spatial blocks) | 24 | CQR | decile | 4 | 91.4 | 79.2 |
| unseen (spatial blocks) | 24 | CQR | decile | 5 | 90 | 77.3 |
| unseen (spatial blocks) | 24 | CQR | decile | 6 | 88.9 | 76.7 |
| unseen (spatial blocks) | 24 | CQR | decile | 7 | 87.9 | 76.6 |
| unseen (spatial blocks) | 24 | CQR | decile | 8 | 87.7 | 73.7 |
| unseen (spatial blocks) | 24 | CQR | decile | 9 | 87.2 | 64.6 |
| unseen (spatial blocks) | 24 | ACI-CQR-S (γ selected on source BAs) | season | DJF | 88.5 | 81.6 |
| unseen (spatial blocks) | 24 | ACI-CQR-S (γ selected on source BAs) | season | JJA | 90.1 | 85.4 |
| unseen (spatial blocks) | 24 | ACI-CQR-S (γ selected on source BAs) | season | MAM | 91.1 | 84.4 |
| unseen (spatial blocks) | 24 | ACI-CQR-S (γ selected on source BAs) | season | SON | 89.8 | 84.8 |
| unseen (spatial blocks) | 24 | ACI-CQR-S (γ selected on source BAs) | decile | 0 | 89 | 82.1 |
| unseen (spatial blocks) | 24 | ACI-CQR-S (γ selected on source BAs) | decile | 1 | 91 | 88 |
| unseen (spatial blocks) | 24 | ACI-CQR-S (γ selected on source BAs) | decile | 2 | 91.7 | 89.2 |
| unseen (spatial blocks) | 24 | ACI-CQR-S (γ selected on source BAs) | decile | 3 | 91.9 | 87.1 |
| unseen (spatial blocks) | 24 | ACI-CQR-S (γ selected on source BAs) | decile | 4 | 91.7 | 87.5 |
| unseen (spatial blocks) | 24 | ACI-CQR-S (γ selected on source BAs) | decile | 5 | 90.3 | 86.9 |
| unseen (spatial blocks) | 24 | ACI-CQR-S (γ selected on source BAs) | decile | 6 | 89.2 | 85.8 |
| unseen (spatial blocks) | 24 | ACI-CQR-S (γ selected on source BAs) | decile | 7 | 88.2 | 84.8 |
| unseen (spatial blocks) | 24 | ACI-CQR-S (γ selected on source BAs) | decile | 8 | 87.9 | 80.8 |
| unseen (spatial blocks) | 24 | ACI-CQR-S (γ selected on source BAs) | decile | 9 | 87.9 | 71.4 |

# 9	S9. Ridge penalty grid (post-review)

Table S9. Ridge penalty grid on the validation (odd ISO) weeks, h = 24 h.

| Ridge penalty λ | Validation median nMAE % |
| --- | --- |
| 0.01 | 5.059 |
| 0.1 | 5.059 |
| 1 | 5.059 |
| 10 | 5.059 |
| 100 | 5.059 |
| 1000 | 5.059 |

# 10	S10. Adaptation compute cost

Table S10. Adaptation fit time per target BA (s).

| model | h | fit_seconds_per_region |
| --- | --- | --- |
| LGB_L_k1 | 1 | 0.062 |
| LGB_FT_k1 | 1 | 0.839 |
| LGB_L_k4 | 1 | 0.157 |
| LGB_FT_k4 | 1 | 1.017 |
| LGB_L_k13 | 1 | 0.247 |
| LGB_FT_k13 | 1 | 1.383 |
| LGB_L_k1 | 6 | 0.06 |
| LGB_FT_k1 | 6 | 0.297 |
| LGB_L_k4 | 6 | 0.168 |
| LGB_FT_k4 | 6 | 0.403 |
| LGB_L_k13 | 6 | 0.256 |
| LGB_FT_k13 | 6 | 0.531 |
| LGB_L_k1 | 24 | 0.062 |
| LGB_FT_k1 | 24 | 0.151 |
| LGB_L_k4 | 24 | 0.182 |
| LGB_FT_k4 | 24 | 0.232 |
| LGB_L_k13 | 24 | 0.255 |
| LGB_FT_k13 | 24 | 0.295 |